Summer 2024 Inspections - Carriage Gate Ct

| Address | Notes |
| --- | --- |
| 11475 Carriage Gate Ct | - Powerwash needed on front steps and driveway. - Landscaping in the front of the house needs maintenance. - Window trim on the side of the house needs to be repaired. |
| 11477 Carriage Gate Ct | - Powerwash needed on front steps. - Front railing has rust; needs to be repainted. - Dry rot on the door frame needs to be repaired and repainted. - Bay window trim needs to be repainted. |
| 11479 Carriage Gate Ct | - Powerwash needed on front steps and driveway. - Dry rot on trim above the front door needs to be repaired. |
| 11481 Carriage Gate Ct | - Powerwash needed on front steps and driveway. - Dry rot on front door trim needs to be repaired. - Dry rot around the palladium window needs to be repaired. |
| 11483 Carriage Gate Ct | - Powerwash needed on the driveway. - Front railing has rust; needs to be repainted. - Dry rot on the front door trim needs to be repaired. - Dry rot above the palladium window needs to be repaired. - Dry rot on the bay window needs to be repaired. - Tree branches hanging over the sidewalk need to be trimmed to allow passage underneath. |
| 11485 Carriage Gate Ct | - Powerwash needed on front steps and driveway. - Front railing has rust; needs to be repainted. - Shutters need to be repainted to match the front door. - Garage door needs to be repaired. - Brick above the garage door needs to be cleaned. |
| 11487 Carriage Gate Ct | - Dry rot next to the palladium window needs to be repaired. - Dry rot above the transom window needs to be repaired. |
| 11489 Carriage Gate Ct | RESALE INSPECTION COMPLETED 7.15.24 - NO ISSUES CITED |
| 11491 Carriage Gate Ct | - Brick on the front of the house needs to be cleaned. - Powerwash needed on front steps and driveway. - Front railing has rust; needs to be repainted. - Shutters need to be repainted to match the door. - Powerwash needed on the siding on the side of the house. - Dry rot on windows (including the bay window) on the side of the house needs to be repaired. - Landscaping on the side of the house needs maintenance. |