Summer 2024 Inspections - Grover Glen Ct

| Address | Notes |
| --- | --- |
| 4115 Grover Glen | - Missing shutters on the single window. - Adjoining corner on the brick pillar needs to be cleaned. - Bump-out roof needs to be painted black. - Powerwash needed on the back fence, gate, and flower boxes. - sealing/stain needed on back fence and gate. - Repair needed on upper siding and roof (side of house). - Remove construction and wood debris (side of house). |
| 4117 Grover Glen | - Faded shutter needs painted to match front door - Front railing has rust; needs repainted. - Rear sliding door trim needs maintenance (dry rot). - Powerwash and sealing/stain needed on deck. - Rear landscaping needs maintenance. |
| 4119 Grover Glen | - Front bump-out needs caulking and maintenance - Garage door requires cleaning - Powerwash needed on front steps and driveway |
| 4121 Grover Glen | - Dry rot b/w palladium window and transom needs to be repaired. - Garage door requires cleaning. - Bump-out roof needs to be painted black. - Powerwash needed on front steps and driveway. - Front landscaping needs maintenance. - Rear sliding door trim and transom need maintenance (dry rot). - Powerwash and sealing/stain needed on deck and stairs. - Tools and cleaning equipment need to be stored out of sight. |
| 4122 Grover Glen | - Three missing shutters in front of house need replaced - Powerwash needed on front steps, brick foundation under steps, and driveway. - Front railing has rust; needs repainted. - Dry rot on trim above the door needs to be repaired. - Powerwash needed on siding on the side of the house. - Window trim on the side of the house needs repaired. - Rear deck needs to be repaired, power washed, and sealed/stained. |
| 4123 Grover Glen | - Powerwash needed on front steps and driveway. - Front railing has rust; needs repainted. - Front door frame needs maintenance. - Window screens need maintenance. - Garage door needs maintenance. - Powerwash needed on rear siding. - Rusty light fixture in the rear needs maintenance. |
| 4124 Grover Glen | - Missing shutter in front of the house needs to be replaced. - Shutters need to be painted to match the front door. - Powerwash needed on front steps. - Rusty front railing needs to be painted. - Dry rot on the bay window needs to be repaired. |
| 4125 Grover Glen | - Powerwash needed on front stairs and driveway. - Maintenance needed on the garage door. - Landscaping maintenance (trimming and weeding) required in front of the house. - Dry rot on deck and stairs needs repaired. - Powerwash and sealing/stain needed on deck and stairs. - Debris on deck needs to be stored out of sight. |
| 4126 Grover Glen | - Powerwash needed on front steps and brick foundation. - Dry rot on front bump-out needs repaired. |
| 4127 Grover Glen | - Several windows and screens in front of the house need maintenance. - Dry rot on bump-out needs maintenance. - Powerwash needed on front steps and driveway. - Landscaping maintenance needed in front and rear. - Powerwash needed on deck and stairs. - Side fence in the rear needs to be repaired. |
| 4128 Grover Glen | - Powerwash needed on front steps, brick foundation, and driveway. - Dry rot over the transom window needs to be repaired. |
| 4129 Grover Glen | - Powerwash needed on front steps and brick foundation underneath. - Powerwash and sealant/stain needed on rear deck, stairs, and trellis. |
| 4130 Grover Glen | - Powerwash needed on front steps, brick foundation underneath, and on the driveway. - Dry rot on front door trim needs repaired. - Dry rot on the bay window needs to be repaired. - Front railing has rust; needs repainted. |
| 4131 Grover Glen | - Powerwash needed on front steps and driveway. - Front railing has rust; needs repainted. - Dry rot on window trim needs to be repaired. - Rust on garage trim needs maintenance. - Powerwash and sealant/stain needed on deck and stairs. - Side fence needs to be repaired. - Flower beds in the rear need maintenance. |
| 4132 Grover Glen | - Window frames on the side of the house need repair/maintenance. |
| 4133 Grover Glen | - Flowerbeds in front need maintenance. - Powerwash needed on front steps. - Front railing has rust; needs repainted. - Dry rot above the front door needs to be repaired. - Gap in siding adjacent to the bay window on the side of the house needs to be repaired. - Dry rot on the bay window on the side of the house needs to be repaired. - Fence of side of the deck needs to be repaired. - Dry rot over the rear door needs repaired. - Powerwash and sealant/stain needed on deck and stairs. - Dry rot on deck stairs railing needs repaired. |