Summer 2024 Inspections - Hazelwood Ct.

| Address | Notes |
| --- | --- |
| 4100 Hazelwood Ct. | - Powerwash needed on front steps and driveway. - Front railing has rust; needs to be repainted. - Dry rot on front door trim needs to be repaired. - Dry rot below the palladium window needs to be repaired. - Garage door needs to be repaired. - Landscaping in the front of the house needs maintenance. - Powerwash needed on the siding on the side of the house. - Dry rot on the bay window needs to be repaired; trim needs to be cleaned. |
| 4101 Hazelwood Ct. | NO ISSUES TO CITE |
| 4102 Hazelwood Ct. | - Powerwash needed on front steps and driveway. - Front railing has rust; needs to be repainted. - Dry rot on front door trim needs to be repaired. - Loose shutter(s) need to be repaired. - Dry rot on/around the garage door needs to be repaired. - Landscaping in the front of the house needs maintenance. |
| 4103 Hazelwood Ct. | - Powerwash needed on front steps, brick foundation underneath, and driveway. - Front railing has rust; needs to be repainted. - Missing shutter(s) need to be replaced. - Trim around the front entrance needs to be cleaned. |
| 4104 Hazelwood Ct. | - Powerwash needed on front steps and driveway. - Front railing has rust; needs to be repainted. - Trim all around the front entrance needs to be cleaned. - Landscaping in the front of the house needs maintenance. - Garage door needs to be repaired. |
| 4105 Hazelwood Ct. | - Powerwash needed on front steps and driveway. - Front railing has rust; needs to be repainted. - Landscaping in the front of the house needs maintenance. - Garage door needs to be cleaned. |
| 4106 Hazelwood Ct. | - Powerwash needed on front steps. - Front railing has rust; needs to be repainted. - Dry rot on the transom window and below the palladium window needs to be repaired. - Garage door needs to be repaired. - Landscaping in the front of the house needs maintenance. |
| 4107 Hazelwood Ct. | - Powerwash needed on front steps and driveway. - Dry rot on trim above the transom window needs to be repaired. - Shutters need to be repainted. |
| 4108 Hazelwood Ct. | - Powerwash needed on front steps and driveway. - Front railing has rust; needs to be repainted. - Dry rot on trim above the transom window needs to be repaired. - Dry rot on the front door trim needs to be repaired. - Dry rot on the bump-out needs to be repaired. - Front door needs to be repainted. - Missing shutter(s) need to be replaced. - Screen/Storm door needs to be repaired. |
| 4109 Hazelwood Ct. | - Shutters need to be repainted. |
| 4110 Hazelwood Ct. | - Powerwash needed on front steps and driveway. |
| 4111 Hazelwood Ct. | - Powerwash needed on front steps, brick foundation underneath, and driveway. - Front railing has rust; needs to be repainted. - Missing shutter(s) need to be replaced. - Shutters need to be repainted. |
| 4112 Hazelwood Ct. | NO ISSUES TO CITE |
| 4113 Hazelwood Ct. | - Powerwash needed on front steps and driveway. - Front railing has rust; needs to be repainted. - Dry rot on front door trim needs to be repaired. - Shutters need to be repainted to match the front door. - Garage door needs to be repaired. - Mesh/Netted structure within the fence needs to be removed. |
| 4114 Hazelwood Ct. | - Roof above the garage door needs to be repaired and repainted black. - Powerwash needed on the walkway to the front door. - Landscaping needs maintenance. - Ornamental brick on the side of the house needs to be repaired. - Dry rot on the window trim needs to be repaired. |