Summer 2024 Inspections - Sunflower Ln

| Address | Notes |
| --- | --- |
| 11400 Sunflower Ln | - Shutters need to be painted to match the front door. - Powerwash needed on the driveway. - Garage door needs to be repaired. |
| 11401 Sunflower Ln | - Front railing has rust; needs repainted. - Powerwash needed on front steps and driveway. - Dry rot next to the transom window needs to be repaired. - Dry rot above the palladium window needs to be repaired. - Dry rot on bump-out needs to be repaired. - Front landscaping needs maintenance. |
| 11402 Sunflower Ln | - Siding above the palladium window needs to be repaired. - Front railing has rust; needs repainted. - Powerwash needed on front steps, brick foundation underneath, and driveway. - Trim around the palladium window needs maintenance. |
| 11403 Sunflower Ln | - Powerwash needed on front steps, brick foundation underneath, and the driveway. - Dry rot above the palladium window and other windows needs repaired. - Trim above the garage door needs to be repaired. |
| 11404 Sunflower Ln | - Front railing has rust; needs repainted. - Powerwash needed on front steps, brick foundation underneath, and driveway. - Dry rot on the transom window trim needs repaired. |
| 11405 Sunflower Ln | - Front railing has rust; needs repainted. - Powerwash needed on front steps and driveway. - Front door and shutters need to be repainted. - Front landscaping needs maintenance. |
| 11406 Sunflower Ln | NO ISSUES TO CITE |
| 11407 Sunflower Ln | - Front railing has rust; needs repainted. - Powerwash needed on front steps and driveway. |
| 11408 Sunflower Ln | - Front railing has rust; needs repainted. - Powerwash needed on front steps, brick foundation underneath, and driveway. - Dry rot on transom window trim needs repaired. - Dry rot on trim above the garage door needs repaired. - Garage door needs to be repaired. |
| 11409 Sunflower Ln | - Garage door needs to be cleaned. - Powerwash needed on front steps and driveway. - Front landscaping required maintenance. - Trim next to the palladium window needs to be repaired.?? - Gardening materials need to be stored out of sight. |
| 11410 Sunflower Ln | - Powerwash needed on front steps,brick foundation underneath, and driveway. |
| 11411 Sunflower Ln | NO ISSUES TO CITE |
| 11412 Sunflower Ln | - Front railing has rust; needs repainted. - Dry rot on front door trim and above the transom window needs to be repaired. |
| 11413 Sunflower Ln | - Powerwash needed on front steps, brick foundation underneath, and driveway. - Front railing has rust; needs repainted. - Front landscaping needs maintenance. - Dry rot above the palladium window needs to be repaired. |
| 11414 Sunflower Ln | - Powerwash needed on siding (front and side of house) - Dry rot on the front door, and window trim needs to be repaired (front and side of house). |
| 11415 Sunflower Ln | - Brick needs to be cleaned - Dry rot on front door trim needs to be repaired. - Dry rot on window trim needs to be repaired. - Powerwash needed on the driveway and walkway to the door. - Dry rot on the garage door needs to be repaired. |