Summer 2024 Inspections - Zinnia Ln

| Address | Notes |
| --- | --- |
| 4150 Zinnia Ln | - Roof over the garage needs to be painted black. |
| 4152 Zinnia Ln | - Vent cap needs to be replaced. - Brick needs to be cleaned. - Front door and shutters need to be painted. - Front railing has rust; needs to be painted. - Dry rot on the transom window and below the front door needs to be repaired. - Garage door needs to be repaired. - Powerwash needed on front steps and brick foundation underneath. |
| 4154 Zinnia Ln | - Powerwash needed on front steps and the driveway. - Front railing has rust; needs to be painted. |
| 4156 Zinnia Ln | - Powerwash needed on front steps and the driveway. - Landscaping in front needs maintenance. - Front railing has rust; needs to be painted. - Ripped window screen need to be repaired. - Dry rot on door trim and under bump-out needs to be repaired. - Front door needs to be painted. |
| 4158 Zinnia Ln | - Powerwash needed on front steps and the driveway. - Landscaping in front needs maintenance. |
| 4160 Zinnia Ln | - Dry rot on window trim needs to be repaired. |
| 4162 Zinnia Ln | - Powerwash needed on front steps and the driveway. - Front railing has rust; needs to be painted. - Landscaping in front needs maintenance. - Missing shutter needs to be replaced. |
| 4164 Zinnia Ln | - Powerwash needed on the driveway. - Front railing has rust; needs to be painted. - Bay window trim needs to be repaired. |
| 4166 Zinnia Ln | - Powerwash needed on front steps, brick foundation underneath, and on the driveway. - Front railing has rust; needs to be painted. - Dry rot above the transom and palladium windows needs to be repaired. - Rust above the palladium window needs to be repaired. - Landscaping in front needs maintenance. |
| 4168 Zinnia Ln | - Powerwash needed on front steps, brick foundation underneath, and on the driveway. - Powerwash needed on siding. - Front railing has rust; needs to be painted. - Dry rot around the transom window, above the palladium window, and around upper windows need to be repaired. - Dry rot above the garage needs to be repaired. - Dry rot on the front door trim needs to be repaired. |
| 4170 Zinnia Ln | - Powerwash needed on front steps, brick foundation underneath, and on the driveway. - Powerwash needed on siding. - Dry rot on palladium window trim needs to be repaired. |
| 4172 Zinnia Ln | - Front door needs to be painted. - Brick foundation under front steps needs to be cleaned. - Gutters above the garage need to be cleaned off debris. |